## Slide 1
Barrier Systems and Alternatives
FEED THE FUTURE INNOVATION LAB FOR LIVESTOCK SYSTEMS
Supplemental materials for Good Laboratory Management Training Manual for Trainers
Prepared by Richard Fethiere, University of Florida

## Slide 2
Background
Resources: Facilities
Adequate separation of facilities
Factors to consider
Pharmacy/chemicals
Animal facilities
Documentation for buildings

## Slide 3
RESOURCES

## Slide 4
Resources/FACILITIES: Adequate Separation
Physical separation
Separation (logistics)
Rooms
Cabinets/isolators
Air systems and filters
Defined work areas
One-way systems
Different activities in same areas at different times
Cleaning between activities
Separate staff

## Slide 5
Resources/FACILITIES: Factors to consider
Experimental
Test systems
Staff
Staff safety and comfort
Operational
Access / security
Study types
Number of studies
Potential impact on the study
Cleaning
Storage
Utilities and maintenance
Waste disposal

## Slide 6
Resources/Buildings:
Is it adequate for the study?
Examples
  Pharmacy and dose mixing unit
  Animal facilities

## Slide 7
ACTIVITY: DOSE Mixing UNIT
Resources/Buildings: Pharmacy and dose mixing unit
Deals with test and control items like:
Storage
Dispensing
Weighing
Mixing
Receipt
Dispatch

## Slide 8
Resources/Buildings
Pharmacy and dose mixing unit:
  Toxic or corrosive chemicals
Size
  Accommodates all activities (including paperwork) without task of mix-ups or cross contamination
  Enough working area, independent storage and waste disposal
Construction
  Materials allow for easy cleaning
  Air flow/filters protect test items & personnel

## Slide 9
Resources/Buildings: Pharmacy/Chemicals
Location - Separate areas for
Storage of test materials
Storage of control materials
Handling volatile materials
Weighing areas
Mixing different dose forms (e.g., Diet & liquid)
Storage of prepared dose
Cleaning equipment
Offices – toilets
Changing rooms

## Slide 10
Resources/Buildings: Animal Facilities
Design should
  Reduce risk of test system
    Being affected by environmental variables
    Encountering disease
    Encountering other test articles
  One answer: BARRIER SYSTEM

## Slide 11
Resources/Buildings: Animal Facilities
Air pressure difference / airflow and filters
Temperature
Food (not contaminated)
Water (clean supply)
Bedding (dust free, autoclaved)
Cages
Health status/Quarantine
Noise
Dose mixing (pharmacy)
Waste (prompt elimination)

## Slide 12
Resources/Buildings: Animal Facilities
Separation
Species
Studies
Quarantine
Changing rooms
Material reception
Storage: Bedding, diet, doses, cages
Necropsy

## Slide 13
  Environmental factors controlled
    Temperature/humidity
    Air flow
    Light (intensity, duration, etc.)
    Noise
  Cleaning
    Smooth, flat surfaces, walls, doors, ceilings
    No gaps, cracks, holes
Resources/Buildings: Animal Facilities

## Slide 14
  Even if facilities are not “state of the art”
    Minimize staff entry into building
    Restrict entry into animal rooms
    Organize workflow (use of corridors clean/dirty at different times)
    Require staff to adopt dress procedures
    Clean between studies
Resources/Buildings: Animal Facilities

## Slide 15
Activity:
Case Study on contamination/disturbance

## Slide 16
Resources/Buildings: Documentation for buildings
  Separation
  Standard Operating Procedures (SOP)
  Floor Plans
  Qualification report
  Logbook
  Service, maintenance reports
  Fault action report/errors/modifications/fixes

## Slide 17
Activity:
DISCUSSION ON GLP BUILDING COMPLIANCE

## Slide 18
Activity:
END OF DAY REFLECTION

## Slide 19
Consult the Good Laboratory Management Training Manual for Trainers https://livestocklab.ifas.ufl.edu/resources/glp/ Direct link to manual in PDF: https://livestocklab.ifas.ufl.edu/media/livestocklabifasufledu/pdf-/MANUAL-Fethiere_UF_Good-lab-management-practices_2022.pdf