## Slide 1
GOOD LABORATORY PRACTICES-DOCUMENTATION
FEED THE FUTURE INNOVATION LAB FOR LIVESTOCK SYSTEMS
Supplemental materials for Good Laboratory Management Training Manual for Trainers
Prepared by Richard Fethiere, University of Florida

## Slide 2
Background
Resources: Equipment
Suitability of equipment
Calibration of equipment
Maintenance of equipment
Documentation of equipment

## Slide 3
Resources: Equipment
The GLP regulations require you to make certain that the equipment used in studies:
Suitable for the task at hand
Properly calibrated and maintained, and
Has good documentation relating to each piece of equipment

## Slide 4
Resources: Equipment - Suitability
The researcher’s responsibility: Study staff must be able to justify the use of their equipment and demonstrate that it is suitable for the work being performed
Some equipment will require proof of suitability
Some equipment may need formal qualification

## Slide 5
Resources: Equipment - Calibration
All equipment used must be calibrated to demonstrate that it is working within the limits fixed by the manufacturer and scientist and is producing reliable data
Calibration usually requires the use of standards
May need formal equipment qualification

## Slide 6
Resources: Equipment - Maintenance
Maintenance is particularly important for instruments that impact all raw data collected
Preventive maintenance
Curative maintenance (repair faults)
Back-up equipment/procedures
Contracts with external service organizations
Alarms

## Slide 7
Resources: Equipment - Documentation
Have Standard Operating Procedures (SOP) for:
  Equipment use
  All maintenance actions including outside contractors
Keep records of:
  Qualification/use/calibration/check ups
  Equipment service plan
  Fault action reports

## Slide 8
Resources: Equipment - Documentation
Service plan (example):
  Plan title: Change and clean the refrigerator/freezer filter
    October 2019
    Jan 2020
    April 2020
    July 2020

## Slide 9
Resources: Equipment
Service label
  Instrument number
  Date of last service
  Date next service is due
  Name of the responsible person
  Signature/date

## Slide 10
Resources: Equipment
Fault action report
Building/Dept/Room | Equipment ID | Date | Signature
Problem description |  |  | 
Immediate action taken |  |  | 
Action taken by |  |  | 
Instrument ok to use |  |  | 

## Slide 11
Resources: DOCUMENTATION FOR Equipment
SOP
Floor Plan
Qualification Report
Logbook
Service/
Maintenance Reports
Fault action report/errors/
modifications/fixes

## Slide 12
Consult the Good Laboratory Management Training Manual for Trainers https://livestocklab.ifas.ufl.edu/resources/glp/ Direct link to manual in PDF: https://livestocklab.ifas.ufl.edu/media/livestocklabifasufledu/pdf-/MANUAL-Fethiere_UF_Good-lab-management-practices_2022.pdf