## Slide 1
GOOD LABORATORY PRACTICES STUDY PROTOCOLS (PART 1II)
FEED THE FUTURE INNOVATION LAB FOR LIVESTOCK SYSTEMS
Supplemental materials for Good Laboratory Management Training Manual for Trainers
Prepared by Richard Fethiere, University of Florida

## Slide 2
Background
Study protocols: Test item
Study protocols: Characterization

## Slide 3
Study protocols
TEST ITEM
Bulk test item
Preparation of dose-form
Chemical analysis

## Slide 4
STUDY PROTOCOLS: TEST ITEM
  Bulk test item
  GLP is not required for the manufacturing of batches used in preclinical (GLP) studies
  Regulatory authorities require testing to ensure test item is fit for preclinical use
  Use single lot throughout study if possible

## Slide 5
Study Protocols: characterization
Preparation of Dose-Form
If you have elements in dose form:
Is it the right test element?
Is it the right concentration?
Has it always been prepared the same way?
Do you have procedures to:
Receive?
Store?
Prepare?
Deliver to point of use?
Dispose?

## Slide 6
Study Protocols: characterization
Analysis
  Analytical results are used to evaluate the quality of the bulk test item and the dose form
  The study director should have this information as soon as possible
  The data from the analyses must be reliable, therefore should be generated under GLP conditions

## Slide 7
Study Protocols: characterization
Test systems, what are they?
Animals
Bacteria
Cells
Organs
Plants
Or they can also be:
Analytical equipment

## Slide 8
Consult the Good Laboratory Management Training Manual for Trainers https://livestocklab.ifas.ufl.edu/resources/glp/ Direct link to manual in PDF: https://livestocklab.ifas.ufl.edu/media/livestocklabifasufledu/pdf-/MANUAL-Fethiere_UF_Good-lab-management-practices_2022.pdf