## Slide 1
GOOD LABORATORY PRACTICE
FINAL REPORTING AND ARCHIVING
FEED THE FUTURE INNOVATION LAB FOR LIVESTOCK SYSTEMS
Supplemental materials for Good Laboratory Management Training Manual for Trainers
Prepared by Richard Fethiere, University of Florida

## Slide 2
Background
Final report
Archives
Quality Assurance Unit

## Slide 3
READING:
Section 9.2 of OECD GOOD LAB PRACTICES

## Slide 4: What SHOULD BE INCLUDED IN THE FINAL REPORT?
Identification of the study, the test item, and reference item
Information concerning the sponsor and the test facility
Dates: experiment starting and completion dates
Statement
Description of materials and test methods
Results
Storage

## Slide 5: THE FINAL REPORT
Once a final report has been signed by the study director, it cannot be changed. If there is a need to correct or amplify the report, this must be done by issuing a separate amendment to the report. The amendment must indicate what is being changed, or what is being added to the report. The amendment must be signed by the study director and must be audited by the Quality Assurance Unit (QAT)

## Slide 6: Reporting of study results
Reports of principal investigators or scientists involved in the study should be signed and dated by them.
The final report should be signed and dated by the study director
Corrections and additions to a final report should be in the form of amendments.
Read section 9.1 of the OECD GLP Principles
A final report should be prepared for each study

## Slide 7
The function of the archiving is to store important items over a long period under secure conditions
ARCHIVES

## Slide 8
All that is left at the end of the study is needed to demonstrate the validity and traceability of the scientific results. Therefore, the archives are so important
ARCHIVES

## Slide 9
  Long-term secure storage and fast data retrieval
  Contains all original scientific data, master documents, reports, etc.
  Endpoint of regulated work
ARCHIVES: FUNCTION
To consider
It is important to guarantee that all the data are transferred and that there is a record of what is transferred

## Slide 10
Archives: Submission form
Submission number
Department/group
Project
Study number
Quantity
Description
Comments
Date/Signature of submitter/Signature of archivist

## Slide 11
Archives: History
  The archived materials must be protected from interference (particularly unauthorized removal that will lead to loss) and from disasters like fire and flooding and deliberate vandalism. Therefore, entry to the archives should be restricted
You need an SOP to describe the conditions of entry (sign in and out) and a list of persons who are allowed access

## Slide 12
Archives
  Under conditions that minimize deterioration
  Fire/Flood precautions
  Air-conditioned environment
  Computer backups maintained in safe cabinets

## Slide 13
QUALITY ASSURANCE UNIT
The Quality Assurance Unit (QAU) is the subject of an important chapter of GLP regulations, and the OECD has published a consensus document to help the interpretation of the QAU section in the main text

## Slide 14
QUALITY ASSURANCE UNIT
To understand the work of the QAU it should be remembered that GLP is a standard for the organization of studies
GLP is not a set of rules that judges the scientific value of studies
The QAU works in the area of compliance with GLP and in the area of study organization
  GLP is concerned with the organization of studies and the way in which they are:
    Planned
    Performed
    Recorded
    Reported
    Monitored

## Slide 15
READING:
Section 2 ON QUALIFICATION OF QUALITY ASSURANCE PERSONNEL

## Slide 16
QUALITY ASSURANCE: Responsibilities (from GLP)
  Ensure study plan and SOP are available
  Ensure study plan and SOP are followed
    By inspector
    By audit
The GLP regulations require that the QAU has a documented program. This means that the QAU must have its own SOP on how it operates and must record what it does

## Slide 17
READING:
Section 2 of OECD GOOD LAB PRINCIPLES

## Slide 18
QUALITY ASSURANCE: Responsibilities
  Report findings in writing
  Review final reports
  Prepare / Sign Quality Assurance statement
The GLP Principles require QAU to check that all personnel have protocols and SOP available for their work and that these documents are followed during the performance of their work

## Slide 19
QUALITY ASSURANCE: Responsibilities
  Report findings in writing
  Review final reports
  Prepare / Sign QA statement
When the QAU performs an audit/inspection it must be recorded in writing. Any findings resulting from the investigation must be reported to the appropriate person in management and the study director if the finding is about a specific study

## Slide 20
QUALITY ASSURANCE: Responsibilities
  Review study plan
  Review SOP
Although the OECD GLP Principles clearly state that the QAU must verify (review) the protocol, the same is not clearly stated for SOP. However, the OECD Consensus document on QAU responsibilities recommends this:

## Slide 21
QUALITY ASSURANCE: Inspection / Audit
  3 Types
Study-based
Facility/system-based
Process-based
Example: Study-based inspections
Those that investigate specific studies
Typically, the QAU identifies important study phases known as critical phases, which are then inspected during the actual performance of operations by study staff
They are performed on the protocol, the phases of the study that are in process or on going, and on the final report

## Slide 22
QUALITY ASSURANCE: Unit/Audits
  QA Unit is a team responsible as defined by the GLP to ensure that the laboratory is in compliance with GLP rules
  This team is organized to work independently from the personnel in charge of study operations and functions as witnesses to the pre-clinical research process

## Slide 23
QUALITY ASSURANCE STATEMENT
Dates of inspection
Dates of findings to study director and management
Phases audited
Confirmation that reports reflects methods used and data generated
Any exceptions
Sign only if study is GLP compliant with study statement
Director is considered justifiable, and all corrective actions completed

## Slide 24
Read the definition of facility inspections in the OECD consensus document Quality Assurance and GLP: Section on QA inspections

## Slide 25
Consult the Good Laboratory Management Training Manual for Trainers https://livestocklab.ifas.ufl.edu/resources/glp/ Direct link to manual in PDF: https://livestocklab.ifas.ufl.edu/media/livestocklabifasufledu/pdf-/MANUAL-Fethiere_UF_Good-lab-management-practices_2022.pdf