## Slide 1
LABORATORY SAFETY AND EQUIPMENT MAINTENANCE
FEED THE FUTURE INNOVATION LAB FOR LIVESTOCK SYSTEMS
Supplemental materials for Good Laboratory Management Training Manual for Trainers
Prepared by Richard Fethiere, University of Florida

## Slide 2
Background
Supplies and reagents inventory
Equipment acquisition
Equipment maintenance
Manual of the equipment
Activity

## Slide 3
SUPPLIES AND REAGENTS INVENTORY
Ensure that there are enough reagents and supplies to process the samples submitted
The number of samples submitted will dictate the number of reagents and supplies to be stocked
Know what supplies are available to process the samples submitted
It should allow the lab to:
AN INVENTORY OF SUPPLIES AND REAGENTS MUST ALWAYS BE KEPT

## Slide 4
    Important as it allows to know what and where dangerous chemicals are kept in the lab
    Allows to ensure that the Material Safety Data Sheets (MSDS) on each chemical is available
    MSDS => Provides information on the chemical’s characteristics and the potential dangers they create for users
Chemical inventory

## Slide 5
    Provides info on how to treat potential exposure to dangerous chemicals should they occur
    Helps to know what supplies to stock in the lab to answer to an emergency caused by dangerous chemicals
    Helps determine the Personal Protective Equipment (PPE) that the staff must use
Material Safety Data Sheets

## Slide 6
    Helps determine the Personal Protective Equipment (PPE) that the staff must use, for instance, lab coats, gloves, and goggles
    Helps determine if the use of a fume hood is necessary to protect the researchers using the laboratory facilities
Material Safety Data Sheets (2)

## Slide 7
EQUIPMENT ACQUISITION
What equipment to buy?
Any special options required? (UV)
Is there a warranty? For how long?
Why?
What does the equipment come with?
Does the company provide maintenance?
Do you have the contact info of the company?
It is necessary to keep a list of current suppliers as businesses come and go, or circumstances like days with the coronavirus creates new suppliers of new products: https://www.thomasnet.com/articles/top-suppliers/medical-testing-kits-suppliers/

## Slide 8
  Essential for lab to work efficiently!
    Efficient work = Equipment that works
    You should be familiar with the equipment
Equipment maintenance

## Slide 9
    Should be read thoroughly before installation and use of equipment
    Should always be on hand at the lab
MANUAL OF THE EQUIPMENT

## Slide 10
    Try to have more than one (1) person to attend
    If an employee leaves, there should be more people familiar with the equipment
    Ideally:
      Lab director
      Lab manager
      Lab technician
      At least one student
EQUIPMENT use training

## Slide 11
    Description of equipment:
      Model and serial number
      Name of every part and their use
    Expected maintenance cycles:
      What type of maintenance does the equipment require?
      How often?
What to look for in a manual?

## Slide 12
  Preventive maintenance:
    How often to change a certain component?
    Are there filters that require constant monitoring?
    Are there tubes that need to be replaced?
    Are there bulbs that require to be changed?
  Troubleshooting
    Read thoroughly to be prepared for potential common failures and solutions to these failures
Preventive maintenance and troubleshooting

## Slide 13
    Read thoroughly to be prepared for potential common failures and solutions to these failures
troubleshooting section

## Slide 14
  All parts of the equipment:
    If you need a replacement part, you need to know the exact model to order it
  Tools required:
    Do you need any special tools to execute common maintenance tasks?
equipment and tools

## Slide 15
ACTIVITY:
LABORATORY TOOLBOX

## Slide 16
    You need to have basic items like
      Screwdrivers
      Electrical tape
      Wrenches
      Small saw
      Flashlight
      Other recommended in the manuals
every lab requires a small TOOLBOX

## Slide 17
Consult the Good Laboratory Management Training Manual for Trainers https://livestocklab.ifas.ufl.edu/resources/glp/ Direct link to manual in PDF: https://livestocklab.ifas.ufl.edu/media/livestocklabifasufledu/pdf-/MANUAL-Fethiere_UF_Good-lab-management-practices_2022.pdf